SECTION 08 42 29.23 [08460]

SLIDING AUTOMATIC ENTRANCES

Specifier Note: This specification document shall serve as a guide specification for typical projects where the Stanley Access Technologies Dura-Glide SLH (Slim Line Header) Series sliding automatic entrance will be the basis of design. Specification must be reviewed for applicability on a per project basis. Specification is not appropriate for projects where a wind force and/or impact rating are required. The specifier is directed to select appropriate options included herein. Consult with the Stanley Security Solutions SpecCentre, or the local Access Technologies Territory Manager, when options, not specified, are required. See last page of this document for a summary of unspecified options.

- GENERAL

  - RELATED DOCUMENTS

    - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

  - SUMMARY

Specifier Note: Modify paragraph below to suit project requirements. The Dura-Glide SLH Series can be configured to receive an “All Glass” panel, or a custom panel. Total weight of sliding panels shall not exceed 150 kg (330 lb). See drawings for sliding panel thickness options.

    - This Section includes the following types of automatic entrances:

      - Exterior and interior, [single slide] [and] [bi-parting], sliding automatic entrances.

      - [Sliding panels shall be all glass with top rail support.] [Sliding panels shall be custom {material} panel.]

Specifier Note: Modify paragraph below to suit project requirements. Add appropriate “Related Sections” for custom panels.

    - Related Sections:

      - Division 7 Sections for caulking to the extent not specified in this section.

      - Division 8 Section "Door Hardware" for hardware to the extent not specified in this Section.

      - [Division 8 Section Glazing for materials and installation requirements of glazing for automatic entrances.]

      - Division 16 Sections for electrical connections including conduit and wiring for automatic entrance operators.

  - REFERENCES

    - General: Standards listed by reference, including revisions by issuing authority, form a part of this specification section to extent indicated. Standards listed are identified by issuing authority, authority abbreviation, designation number, title or other designation established by issuing authority.  Standards subsequently referenced herein are referred to by issuing authority abbreviation and standard designation.

    - Underwriters Laboratories (UL):

      - UL 325 – Standard for Door, Drapery, Gate, Louver, and Window Operators and Systems.

    - American National Standards Institute (ANSI) / Builders’ Hardware Manufacturers Association (BHMA):

      - ANSI/BHMA A156.10: Standard for Power Operated Pedestrian Doors.

    - American Society for Testing and Materials (ASTM):

      - ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

      - ASTM B209 - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate

    - American Association of Automatic Door Manufacturers (AAADM):

    - National Fire Protection Association (NFPA):

      - NFPA 70 – National Electric Code.

    - International Organization for Standardization (ISO):

      - ISO 9001 - Quality Management Systems

    - National Association of Architectural Metal Manufacturers (NAAMM):

      - Metal Finishes Manual for Architectural and Metal Products.

    - American Architectural Manufacturers Association (AAMA):

      - AAMA 607.1 - Clear Anodic Finishes for Architectural Aluminum.

      - AAMA 611 Voluntary Specification for Anodized Architectural Aluminum.

  - DEFINITIONS

    - Activation Device:  Device that, when actuated, sends an electrical signal to the operator to open the entrance.

    - Safety Device:  Device that prevents a entrance from opening or closing, as appropriate.

  - PERFORMANCE REQUIREMENTS

    - Provide automatic entrance assemblies capable of withstanding structural loads and thermal movements based on testing manufacturer's standard units in assemblies similar to those indicated for this Project.

    - Thermal Movements:  Provide automatic entrances that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

      - Temperature Change (Range):  67 deg C (120 deg F), ambient; 100 deg C (180 deg F), material surfaces.

    - Operating Range:  Minus 34 deg C (Minus 30 deg F) to 54 deg C (130 deg F).

    - Closing-Force Requirements:  Not more than 133 N (30 lbf) required to prevent sliding panel from closing.

  - SUBMITTALS

    - Submit listed submittals in accordance with Conditions of the Contract and Division 1 Specification Sections.

    - Shop Drawings:  Include plans, elevations, sections, details, hardware mounting heights, and attachments to other work.

    - Color Samples for selection of factory-applied color finishes.

    - Closeout Submittals:

      - Owner’s Manual.

      - Warranties.

  - QUALITY ASSURANCE

    - Installer Qualifications:  Manufacturer's authorized representative, with certificate issued by AAADM, who is trained for installation and maintenance of units required for this Project.

    - Manufacturer Qualifications:  A qualified manufacturer with a manufacturing facility certified under ISO 9001.

    - Certifications: Automatic sliding entrance systems shall be certified by the manufacturer to meet performance design criteria in accordance with the following standards:

      - ANSI/BHMA A156.10.

      - UL 325 listed.

    - Source Limitations:  Obtain automatic entrance assemblies through one source from a single manufacturer.

    - Product Options:  Drawings indicate sizes, profiles, and dimensional requirements of automatic entrance assemblies and are based on the specific system indicated.  Refer to Division 1 Section "Product Requirements."

    - Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

  - PROJECT CONDITIONS

    - Field Measurements:  General Contractor shall verify openings to receive automatic entrance assemblies by field measurements before fabrication and indicate measurements on Shop Drawings.

    - Mounting Surfaces: General Contractor shall verify all surfaces to be plumb, straight and secure; substrates to be of proper dimension and material.

    - Other trades:  General Contractor shall advise of any inadequate conditions or equipment.

  - COORDINATION

    - Templates:  Check Shop Drawings of other work to confirm that adequate provisions are made for locating and installing automatic entrances to comply with indicated requirements.

    - Electrical System Roughing-in: Coordinate layout and installation of automatic entrance assemblies with connections to power supplies and remote activation devices.

  - WARRANTY

    - Automatic entrances shall be free of defects in material and workmanship for a period of one (1) year from the date of substantial completion.

    - During the warranty period the Owner shall engage a factory-trained technician to perform service and affect repairs. A safety inspection shall be performed after each adjustment or repair and a completed inspection form shall be submitted to the Owner.

    - During the warranty period all warranty work, including but not limited to emergency service, shall be performed during normal working hours.

- PRODUCTS

  - AUTOMATIC ENTRANCES

    - Manufacturer: Stanley Access Technologies; Dura-Glide™ SLH Series sliding automatic entrances.

  - MATERIALS

    - Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

      - Headers, stiles, rails, and frames: 6063-T6

      - Extruded Bars, Rods, Profiles, and Tubes:  ASTM B 221.

      - Sheet and Plate:  ASTM B 209.

    - Sealants and Joint Fillers:  Performed under Division 7 Section "Joint Sealants".

  - AUTOMATIC ENTRANCE ASSEMBLIES

    - Provide manufacturer's standard automatic entrance assemblies including, headers, carrier assemblies, roller tracks, operators, activation and safety devices, and accessories required for a complete installation.

Specifier Note: Retain paragraphs below as needed to suit project requirements.

    - Sliding Automatic Entrances:

      - [Single Slide Entrances:

        - Configuration: One sliding leaf and no sidelight.

        - Traffic Pattern:  Two-way.

        - Mounting: Surface applied.]

      - [Bi-Parting Entrances:

        - Configuration: Two sliding leaves and no sidelights.

        - Traffic Pattern:  Two-way.

        - Mounting:  Surface applied.]

  - COMPONENTS

Specifier Note: Select one of two paragraphs based on project requirements. Select first paragraph for “All Glass” applications Select second paragraph for “custom panel” applications Coordinate with other sections.

    - [Glass Panel Rails:  Manufacturer's standard 45 mm (1 3/4 inch) thick by 51 mm (2 inch) nominal height extruded-aluminum tubular top rail members. Rail members to be specifically designed by automatic entrance manufacturer for use with glass panel automatic entrance systems. Fasten rails to glass panels by mechanical clamp; adhesive systems not acceptable.]

    - [Utility Hangers:  Manufacturer's standard panel hanging bracket specifically designed by automatic entrance manufacturer for use with custom panels. Fasten hanging bracket to panels by mechanical means based on panel manufacturer’s recomendations.]

    - Headers:  Fabricated from extruded aluminum and extending full width of automatic entrances to conceal operators, carrier assemblies, and roller tracks.  Provide hinged or removable access panels for service and adjustment of operators and controls.  Secure panels to prevent unauthorized access.

      - Mounting:  Concealed, with one side of header flush with framing.

      - Capacity: Capable of supporting up to 150 kg (330 lb) per panel.

    - Carrier Assemblies and Overhead Roller Tracks:  Manufacturer's standard carrier assembly that allows vertical adjustment of at least 3 mm (1/8 inch); consisting of urethane with precision steel lubricated ball-bearing wheels, operating on a continuous roller track. Support panels from carrier assembly by load wheels and anti-riser wheels with factory adjusted cantilever and pivot assembly. Minimum two ball-bearing load wheels and two anti-rise rollers for each active leaf. Minimum load wheel diameter shall be 64 mm (2 1/2 inch); minimum anti-rise roller diameter shall be 51 mm (2 inch).

Specifier Note: Select one of two paragraphs based on project requirements. Select first paragraph for “All Glass” applications Select second paragraph for “custom panel” applications Coordinate with other sections.

    - [Bottom Guides:  Manufacturer's standard surface mounted bottom guide for glass panels.]

    - [Bottom Guides: Custom surface mounted bottom guide.]

    - Fasteners and Accessories:  Manufacturer's standard corrosion-resistant, non-staining, non-bleeding fasteners and accessories compatible with adjacent materials.

    - Signage: Provide signage in accordance with ANSI/BHMA A156.10.

  - OPERATORS

    - Provide operators of size recommended by manufacturer for size, weight, and movement; for condition of exposure; and for long-term, operation under normal traffic load for type of occupancy indicated.

    - Electromechanical Operators:  Self-contained overhead unit powered by a minimum of 1/4 horsepower, permanent-magnet DC motor with gear reduction drive, microprocessor controller; and encoder.

      - Operation:  Power opening and power closing.

      - Features:

        - Adjustable opening and closing speeds.

        - Adjustable back-check and latching.

        - Adjustable braking.

        - Adjustable hold-open time between 0 and 25 seconds.

        - Obstruction recycle.

        - On/Off switch to control electric power to operator.

        - Variable rate open/closed speed control.

        - Closed loop speed control with active braking and acceleration.

        - Variable obstruction recycle time delay.

        - Self adjusting stop position.

        - Self adjusting closing compression force.

        - Optional Switch to open/Switch to close operation.

      - Mounting:  Concealed.

      - Drive System: Synchronous belt type.

    - Electrical service to operators shall be provided under Division 16 Electrical.  Minimum service to be 240 VAC, 2.5 amps.

  - ELECTRICAL CONTROLS

    - Electrical Control System: Electrical control system shall include a microprocessor controller and position encoder. The encoder shall monitor revolutions of the operator shaft and send signals to microprocessor controller to define panel position and speed. Systems utilizing external magnets and magnetic switches are not acceptable.

    - Life Cycle Data Counter: The microprocessor control shall incorporate a non-re-settable counter to track entrance operation cycles.

    - Controller Protection: The microprocessor controller shall incorporate the following features to ensure trouble free operation:

      - Automatic Reset Upon Power Up.

      - Main Fuse Protection.

      - Electronic Surge Protection.

      - Internal Power Supply Protection.

      - Resetable sensor supply fuse protection.

      - Motor Protection, over-current protection.

    - Soft Start/Stop: A “soft-start” “soft-stop” motor driving circuit shall be provided for smooth normal opening and recycling.

    - Obstruction Recycle: Provide system to recycle the sliding panels when an obstruction is encountered during the closing cycle. If an obstruction is detected, the system shall search for that object on the next closing cycle by reducing door closing speed prior to the previously encountered obstruction location, and will continue to close in check speed until doors are fully closed, at which time the doors will reset to normal speed. If obstruction is encountered again, the door will come to a full stop. The doors shall remain stopped until obstruction is removed and operate signal is given, resetting the door to normal operation.

    - Programmable Controller: Microprocessor controller shall be programmable and shall be designed for connection to a local configuration tool. Local configuration tool shall be software driven and shall be utilized via compatible handheld interface. The following parameters may be adjusted via the configuration tool.

      - Operating speeds and forces as required to meet ANSI/BHMA A156.10.

      - Adjustable and variable features as specified in 2.5, B., 2.

      - Reduced opening position.

      - Firmware update.

      - Trouble Shooting

        - I/O Status.

        - Electrical component monitoring including parameter summary.

      - Entrance profile copy/paste.

Software for local configuration tool shall be available as a free download from the sliding automatic entrance manufacturer’s internet site.

  - ACTIVATION AND SAFETY DEVICES

    - Combined Motion and Presence Sensors: Combined motion and presence sensors shall, in a single housing, detect motion and presence in accordance with ANSI/BHMA A156.10. Motion shall be detected using K-band microwave technology, presence by focused active infrared technology. Units shall function properly at mounting heights up to 3.7 m (12 feet) above the finish floor. The units shall operate between -34°C to 55°C (-30°F and 131°F) in all environmental conditions.

      - Relay Hold Time: Units shall be equipped to provide a relay hold time of ranging from 0.5 to 9.0 seconds.

      - Detection Pattern: Shall be adjustable for both motion and presence detection.

      - Combined motion and presence sensors shall be equal to or better than The Wizard by BEA.

  - HARDWARE

    - Provide units in sizes and types recommended by automatic entrance and hardware manufacturers for entrances and uses indicated.

    - Automatic Locking System: Provide automatic locking hardware on sliding automatic entrances as follows:

      - System shall include a fail-safe electric solenoid locking device with a self contained solid state electronic control factory mounted inside the header.

      - The automatic sliding door(s) shall self latch in the closed position preventing door panels from sliding manually, returning the system to its locked status.

      - During a power interruption the solenoid lock shall be disengaged allowing doors to slide manually.

    - Control Switch: Provide manufacturer’s standard header mounted rocker switches to allow for full control of the automatic entrance door. Controls to include, but are not limited to: Open / Closed / Automatic.

    - Power Switch: Sliding automatic entrances shall be equipped with a two position On/Off rocker switch to control power to the door.

  - FABRICATION

    - Factory fabricates automatic entrance assembly components to designs, sizes, and thickness indicated and to comply with indicated standards.

      - Form aluminum shapes before finishing.

      - Use concealed fasteners to greatest extent possible.

        - Where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration, use self-locking devices.

        - Reinforce members as required to receive fastener threads.

    - Framing:  Provide automatic entrances as prefabricated assemblies.

      - Perform fabrication operations in manner that prevents damage to exposed finish surfaces.

      - Form profiles that are sharp, straight, and free of defects or deformations.

      - Prepare components to receive concealed fasteners and anchor and connection devices.

      - Fabricate components with accurately fitted joints with ends coped or mitered to produce hairline joints free of burrs and distortion.

    - Operators:  Factory fabricated and installed in headers, including adjusting and testing.

    - Glazing: Fabricate framing with minimum glazing edge clearances for thickness and type of glazing indicated.

    - Hardware:  Factory install hardware to the greatest extent possible; remove only as required for final finishing operation and for delivery to and installation at Project site.

  - ALUMINUM FINISHES

    - Comply with NAAMM Metal Finishes Manual for Architectural and Metal Products for recommendations for applying and designing finishes. Finish designations prefixed by AA comply with system established by Aluminum Association for designing finishes.

    - Class II, Clear Anodic Finish: AA-M10C22A31 Mechanical Finish: as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural Class II, clear coating 0.40 mils minimum complying with AAMA 611-98, and the following:

      - AAMA 607.1

      - Applicator must be fully compliant with all applicable environmental regulations and permits, including wastewater and heavy metal discharge.

- EXECUTION

  - INSPECTION

    - Examine conditions for compliance with requirements for installation tolerances, header support, and other conditions affecting performance of automatic entrances. Proceed with installation only after unsatisfactory conditions have been corrected.

  - INSTALLATION

    - Do not install damaged components.  Fit frame joints to produce joints free of burrs and distortion. Rigidly secure non-movement joints.

    - Entrances:  Install automatic entrances plumb and true in alignment with established lines and grades without warp or rack of framing members and panels.  Anchor securely in place.

      - Install surface-mounted hardware using concealed fasteners to greatest extent possible.

      - Set headers, carrier assemblies, tracks, operating brackets, and guides level and true to location with anchorage for permanent support.

    - Operators:  Connect operators to electrical power distribution system as specified in Division 16 Sections.

    - Glazing: Glaze sliding automatic entrance door panels in accordance with, the Glass Association of North America (GANA) Glazing Manual, published recommendations of glass product manufacturer, and sliding automatic entrance manufacturer’s instructions.

    - Sealants:  Comply with requirements specified in Division7 Section "Joint Sealants" to provide weather tight installation.

  - FIELD QUALITY CONTROL

    - Testing Services:  Factory Trained Installer shall test and inspect each automatic entrance to determine compliance of installed systems with applicable ANSI standards.

  - ADJUSTING

    - Adjust operators, controls, and hardware for smooth and safe operation, for weather-tight closure, and complying with requirements in ANSI/BHMA A156.10.

  - CLEANING AND PROTECTION

    - Clean glass and aluminum surfaces promptly after installation.  Remove excess glazing and sealant compounds, dirt, and other substances.  Repair damaged finish to match original finish. Comply with requirements in Division 8 Section “Glazing”, for cleaning and maintaining glass.

END OF SECTION 08 42 29.23 [08460]

# Text boxes

Available options not specified in this document are summarized as follows:

- Glazing Options: For sliding panels; glass by others.

  - 12.7 mm (1/2 inch) tempered

  - 9.5 mm (3/8 inch) tempered

  - 12 mm (0.47 in) tempered

  - 10 mm (0.39 in) tempered

- Locking options:

  - Electric Solenoid Lock, Fail Safe (Specified)

  - Electric Solenoid Lock, Fail Secure

  - None

- Activation and Safety

  - Combined Motion/Presence (Specified).  (UL 325 and ANSI/BHMA A156.10 Compliant)

  - Combined Motion/Presence sensing w/ 2 supplemental safety beams (Required for compliance when wall mounted sensor is mounted beyond normal sensing limits; see drawing.)

  - By Others (Compliance assessment required)

- Control Switch

  - Header Mounted Rocker Switches. (Specified)

  - ECO Pro, electronic control unit.

- Emergency Power Options.

  - Uninterruptible Power Supply (UPS); extended operation.

Contact SpecCentre services or your local Stanley Access Technologies representative for more information on specifying the right sliding automatic entrance for your project.